ــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــــ

 تعديلات مقايسة
 أعمال مكافحة الحريق 
	م
	بيان الأعمــــــال
	الوحدة 
	الكمية
	الفئة
	الاجمالي

	1 
	البند رقم 4 طفايات البودرة الكميائية يجب تعديل العدد ليصبح 8 بدل 4
	عدد
	8
	
	

	2 
	بالعدد توريد وتركيب واختبار حنفية إطفاء حريق بالشارع Street fire pillar hydrant (UL & FM) بقطر 4×2.5×2.5 بوصة كاملة بجميع التوصيلات والإكسسوارات ومحبس الدفن ومحمل علي السعر صندوق حريق بخرطوم 2.5 بوصة بالبشبوري والقاذف علي حامل معدني وطبقا للمواصفات والرسومات صناعة غربية أنتاج شركة كيندى أو ما يماثلها وتعتمد من الادارة العامة للحماية المدنية
	مقطوعية
	1
	
	

	3 
	بالمقطوعية توريد وتركيب و إختبار و تشغيل محبس بوابة  من النوع os & y  شامل tamper switch وجميع الملحقات و القطع معتمد من UL/FM إنتاج أوروبي

محبس قطر 4 بوصة
	عدد
	1
	
	


Approved Vendor List
(pluming and fire)
	Origin
	Manufacturer
	Product

	UAE
UAE
	sffeco
naffco

mas-daf  
	Fire Fighting Pumps

UL/ FM Approved

	USA

USA
	Firetrol

Eaton
	Fire Fighting Pumps Controller

UL/ FM Approved

	USA

USA

USA

USA
	Nibco

Mueller 

Kennedy

Victaulic
	Valve

UL/ FM Approved

	USA

USA

USA
	System sensor

Viking

Potter
	Supervisory switch, water flow and pressure indicator

UL/ FM Approved

	USA

Italy
	Elkhart

Giacomini
	Fire Dept. Connection

UL/ FM Approved

	Germany

USA

USA
	Viking

Reliable

Tyco
	Sprinkler

UL/ FM Approved



	USA

S.Korea
	Victaulic

Younwoo
	Grooved Coupling and Fitting

	UAE

UAE

China

Malaysia
UAE
	Sffeco
Unisafe

Jintian

SRI

Naffco
	Fire hydrant and Cabinet


	Egypt

UAE
	Bavaria

Naffco
	Fire Extinguisher



	USA

USA

USA

USA

USA
	Fike

Ansul

Kidde

Tyco
Stat x
	Clean agent and C02 Extinguishing System

UL/ FM Approved



	USA

USA
	Firelite

Simplex
	Agent releasing Panel         UL/ FM Approved

	Egypt

Egypt

Egypt

Egypt
	Misr EL Hegaz

Misr El Nour

PPP
Islon Masr
	UPVC Pipes

	Germany

Germany

Germany
	Aquatherm

Poloplast

George Fisher
	Polypropylene Pipes (PPR)



	Egypt

Egypt
	Misr EL Hegaz

Hamza
	High density polyethylene (HDPE)

	Denmark

USA

Germany

Germany

Switzerland
	Grundfos
Armstrong

KSB

Wilo

Biral
	Domestic booster pump



	Sweden

Germany

Denmark

Germany

Germany


	Flygt
ABS

Sondex

Wilo

KSB
	Submersible sewage pump



	Egypt

Egypt
	Tawakol

Elmohandes


	Manhole , I.C Cover, Trench Drain

	Egypt

Egypt

Egypt


	GMC

Toshiba

Ariston


	Water Heater


	Origin
	Manufacturer
	Product

	Egypt

Egypt

Egypt

Egypt
	Misr EL Hegaz

Misr El Nour

PPP

Islon Masr
	UPVC Pipes

	Germany

Germany

Germany
	Aquatherm

Poloplast

George Fisher
	Polypropylene Pipes (PPR)



	Egypt

Egypt
	Tawakol

Elmohandes


	Manhole , I.C Cover, Trench Drain

	Egypt

Egypt

Egypt


	GMC

Toshiba

Ariston


	Water Heater



	1
	



